DETERMINATION OF DISSOLVED METALS BY INDUCTIVELY COUPLED PLASMA-OPTICAL EMISSION SPECTROSCOPY (ICP-OES)

- Principle of Method: Dissolved metals such as Na, K, Ca, Mg, Al, Cu, Fe, Zn, Mn and Li, as well as S and P are analyzed by ICP-OES.  This instrument is appropriate for the analysis of water samples, aqueous solutions/extracts, and acid digests containing HNO3 or HNO3/HCl.  This system is not compatible with samples containing hydrofluoric acid, HF, or organic solvents.  Samples are aspirated by a nebulizer into an argon plasma, where they are atomized at temperatures of approximately 5500 – 8000 K.  Analyte atoms are excited, producing characteristic emission patters unique to each element.  These emission lines are detected by a spectrometer, permitting the simultaneous analysis of several elements at once.  An internal standard solution containing yttrium (Y) is used during analysis to correct for matrix effects.

# Instrumentation Used:

Thermo iCAP6300 Duo (N. America) inductively coupled plasma-optical emission spectrometer (ICP-OES).  Manufactured by Thermo Fisher Corp. Registration No. 441506, SOLAAR House, 19 Mercers Row, Cambridge, CB5 8BZ, United Kingdom, 2012.

# References:

3.1 iCAP 6000 Series ICP-OES Spectrometer Hardware Manual v3.5, Thermo Fisher Scientific, 2010.

3.2 iCAP 6000 Series ICP-OES Spectrometer User Guide v2.0, Thermo Fisher Scientific, 2010.

3.3 Atomic Emission Spectrometry: Chapter 10 in Principles of Instrumental Analysis, 6th Edition. D.a. Skoog, F.J. Holler, S. R. Crouch, Eds.  Belmont, CA, USA, 2007.  Pgs. 254-280.

# Standards Used:

Multi-element certified standard solutions purchased from SCP Scientific are used for calibration, and separate certified multi-element solutions are used as external reference standards.  The exact standards used will depend on the elements analyzed – please inquire for more information.